## Instructions-NRCS OK-PDM 3
INSTRUCTIONS Watershed Structure Inspection Report (NRCS form OK-PDM-3) due December 31 each year
Conservation district boards serving as watershed project sponsors and responsible for dam operation and maintenance are required to perform dam inspections annually. Dam inspections will be submitted to the Commission by December 31 each year. The district board will review and approve ALL dam inspections prior to submitting them to the Commission and NRCS. Inspections can be performed anytime during the year. It is recommended that inspections are performed the same time each year. For example: if in 2023 inspections were completed in October they should be complete in October of 2024
• All dam inspection forms (OK-PDM-3 & 3a) must be completed electronically. • All fields highlighted in blue are fillable. • Click the "Save Form" button at the bottom of page 2 and use this naming format: DistrictWatershedDam#_YYYY_NationalInventoryOfDams# Example – GradyRush 2_2025_OK00172 • Submit each inspection form as a separate PDF file. Do not combine multiple forms into one PDF file. • Email all approved inspection forms, along with the board meeting minutes documenting board approval, to Watershed.OandM@conservation.ok.gov no later than December 31 each year. • Reasons a inspection form will be returned for correction: - forms are handwritten or scanned - file naming format was incorrect - multiple forms were submitted as one PDF file
Watershed | Use full names only, abbreviations are not acceptable. Example – Leader-Middle Clear Boggy not LMCB
Site # | Site (dam) number
Hazard Class (H/S/L) | Current hazard classification: High, Significant or Low
County | County the dam is located
Date of Inspection | format: MM/DD/YYYY
Inspection Team Members | Format: FirstName LastName Example – Tom Jones not TJ not T Jones not Tom J List each member by name. Guests do not need to be listed.
Sponsor | Generally the conservation district. If another entity (City, Conservancy District) is the lead O&M sponsor and generally performs maintenance list them also. Example – Noble County CD, City of Perry, Black Bear Conservancy District
Legal Description | Format: Section / Township / Range or Latitude / Longitude Example - S33 T03N R08E or Lat/Long 34.69288/-96.46468
Inlet Structure
- concrete deterioration - reinforcement exposed - inlet leakage - metal corrosion - corroded debris guard | - obstructed debris guard - broken gate stem - components missing - gate operational - alterations | "YES" or "POOR" responses must include a detailed explanation in the "Remarks" section. Provide sufficient context and description so that individuals who were not present—and future readers—can fully understand the condition or issue being addressed.
Embankment
6. Condition of front slope wave erosion |  | Poor - more than 7ft erosion, Fair - 2-7ft erosion, Good - less than 2ft erosion
9. Trees or brush presence 11. Animal burrows or holes? 13. Cracks in embankment and/or abutments. |  | What is the density of tree cover and where are they located. What kind of animal is burrowing and where. How deep and long are observed cracks.
- wave erosion - inadequate vegetation - trees - brush/weeds - drift debris | - cracks/settlement/bulges - animal burrows - cattle trails - beaver trails | "YES" or "POOR" responses must include a detailed explanation in the "Remarks" section. Provide sufficient context and description so that individuals who were not present—and future readers—can fully understand the condition or issue being addressed.
Conduit
17. Overall conduit condition |  | Poor - damaged impacting function, Fair - deterioration, no impact, Good - no damage. If in poor condition may need a video pipe inspection.
- concrete deteriorated - metal corrosion - pipe joint leakage |  | "YES" or "POOR" responses must include a detailed explanation in the "Remarks" section. Provide sufficient context and description so that individuals who were not present—and future readers—can fully understand the condition or issue being addressed.
Principal Spillway Outlet Basin and Channel
- inadequate riprap - outlet submerged - outlet not supported | - obstruction - degraded | "YES" or "POOR" responses must include a detailed explanation in the "Remarks" section. Provide sufficient context and description so that individuals who were not present—and future readers—can fully understand the condition or issue being addressed.
Auxiliary Spillway
23. Auxiliary spillway grass cover |  | Poor - bare, Fair - short over grazed, Good - healthy vegetation
- vegetative cover - cattle trails - vehicular trails | - flow obstruction - control section disturbed | "YES" or "POOR" responses must include a detailed explanation in the "Remarks" section. Provide sufficient context and description so that individuals who were not present—and future readers—can fully understand the condition or issue being addressed.
General Site Conditions
28. Current water level |  | Above or below principle spillway crest, maintained as a dry site, or silted in.
- inadequate fence - current water level - unauthorized modifications | - unauthorized structures - sinkholes or depressions | "YES" or "POOR" responses must include a detailed explanation in the "Remarks" section. Provide sufficient context and description so that individuals who were not present—and future readers—can fully understand the condition or issue being addressed.
Actions Taken | O&M completed in preceding 12 months.
Actions Needed | O&M needed in the coming 12 months.
Sponsor Representative | Member of the inspection team representing the district or the district's watershed POC. Must indicate if the district board has reviewed and approved the inspection.
NRCS Representative | NRCS member of the inspection team or the district conservationist. NRCS staff need to indicate if they were on site during the inspection or not.

## Instructions-WDANPlan
INSTRUCTIONS Watershed Dam Actions Needed Plan (OCC-8G or WDANPlan) due March 31 each year
Conservation district boards serving as watershed project sponsors and responsible for dam operation and maintenance must submit a Watershed Dam Actions Needed Plan (WDANPlan) to the Commission by March 31 each year. The district board will review and approve the WDANPlan prior to submitting it to the Commission. The plan should be used as a guiding document for the district's O&M activities throughout the year. The Commission recommends monthly review of the WDANPlan during district board meetings to track progress. How to develop the WDANPlan: • Start with your most recent dam inspection reports (OK-PDM-3), focusing on the “actions needed” section. Note: Submitting the WDANPlan does not constitute a request for O&M funding. To request funds, you must submit an OCC-8H form to the Commission. Submission requirements: • Must be completed electronically. • File naming format: DistrictWDANPlan_YYYY Example - GradyWDANPlan_2023 • The district board must review and approve the WDANPlan. • Email the approved WDANPlan, along with the board meeting minutes documenting board approval, to Watershed.OandM@conservation.ok.gov no later than March 31 each year. • Submit as an Excel document. • Reasons a WDANPlan will be returned for correction: - form is handritten or scanned - file naming format was incorrect - form is submitted as a PDF file
Some cells are locked and you can't type in them. This is by design.
I certify … | Enter your district name.
Date of board meeting when WDANPlan was approved. | Date format: MM/DD/YYYY
Date WDANPlan was submitted to the Commission. | Date format: MM/DD/YYYY
Total Estimated Cost | automatically calculated
Watershed | Use full names only, abbreviations are not acceptable. Example – Leader-Middle Clear Boggy not LMCB
Site # | Enter the dam number.
Date Last Inspected | Date format: MM/DD/YYYY
Actions Needed | Refer to the "actions needed" section on your most recent dam inspection. A list of common O&M actions is located on the right side of the form.
Priority: HIGH - next 3 months LOW - next 12 months | If your dam has both LOW and HIGH priority needs use two lines, one line for LOW priority and another line for HIGH priority.
Estimated Cost | The amount entered is just an estimate. Every line should have an estimated cost. With the exception of when “NRCS trip report needed” is checked. Consult your watershed technician if you need assistance developing an estimated cost.
NRCS trip report recommended maintenance | Check this box when the actions needed were recommended by a NRCS trip report.
NRCS trip report needed | Is the O&M action needed of such a nature that the district needs to request a NRCS trip report? Check this box if a request for a trip report needs to be submitted to NRCS or has already been submitted and you are waiting on the results.

## Example-WDANPlan
WATERSHED DAM ACTIONS NEEDED PLAN Due March 31 Each Year
I certify that the WDANPlan was reviewed and approved by the
Hughes County |  | Conservation District |  |  | Date Submitted |  | 2024-12-12
board of directors in the | 2024-12-10 |  | board meeting. | Total Estimated Cost |  |  | 54500
Priority
Watershed | Site # | Date Last Inspected | Actions Needed (see example actions needed list) | HIGH Next 3 Months | LOW Next 12 Months | Estimated Cost | NRCS Trip Report Recommended Maintenance | NRCS Trip Report Needed
Leader-Middle Clear Boggy | 8 | 2024-10-15 | mechanical brush/tree removal |  | X | 1500 |  |  | Example Actions Needed
Little Wewoka | 11 | 2024-10-15 | mechanical brush/tree removal |  | X | 2000 |  |  | mechanical brush/tree removal
Little Wewoka | 16 | 2024-10-15 | principle spillway tower obstruction removal, outlet pipe repair | X |  | 50000 | X |  | chemical brush control
Little Wewoka | 16 | 2024-10-15 | cattle trail repair |  | X | 1000 |  |  | vegetation
Upper Muddy Boggy | 23 | 2024-10-15 | front slope damage |  | X |  |  | X | principle spillway tower repair/replace
cattle trail repair
plunge basin repair
outlet pipe repair/replace
fence repair/replace
principle spillway tower obstruction removal
beaver removal
EXAMPLE

## Form-WDANPlan
WATERSHED DAM ACTIONS NEEDED PLAN Due March 31 Each Year
I certify that the WDANPlan was reviewed and approved by the
|  | Conservation District |  |  | Date Submitted
board of directors in the |  |  | board meeting. | Total Estimated Cost |  |  | 0
Priority
Watershed | Site # | Date Last Inspected | Actions Needed (see example actions needed list) | HIGH Next 3 Months | LOW Next 12 Months | Estimated Cost | NRCS Trip Report Recommended Maintenance | NRCS Trip Report Needed
Example Actions Needed
mechanical brush/tree removal
chemical brush control
vegetation
principle spillway tower repair/replace
cattle trail repair
plunge basin repair
outlet pipe repair/replace
fence repair/replace
principle spillway tower obstruction removal
beaver removal

## Instructions-8H
INSTRUCTIONS Watershed Operation and Mainteance Request for Assistance (OCC-8H)
Before submission: • Requests are accepted at any time throughout the year. • A current WDANPlan on file with the Commission. Submission requirements: • Must be completed electronically. • File naming format: DistrictOMreq_YYYY.MM.DD Example: GarvinOMreq_2025.10.08 • Emailed to: Watershed.OandM@conservation.ok.gov • Submit as an Excel document. • Reasons a request will be returned for correction: - form is handritten or scanned - file naming format was incorrect - form is submitted as a PDF file Review and approval: • CPD staff will conduct an on-site visit for all requests that include earth-moving activities. • The district will be notified by email if approved.
Emergency contacts: If you have an emergency, please contact CPD staff by phone so that the funding process can be expedited. • Tom Goode – (405) 424-8080 • Johnny Pelley – (405) 365-1801 • Tony Harrison – (405) 203-3416 • Kyle McGregor – (572) 241-1614 Important funding policies: • Do not incur expenses before receiving Commission approval unless your district is prepared to cover costs locally. • Requests submitted after work is completed will not be funded.
Some cells are locked and you can't type in them. This is by design.
Conservation District | Enter the district name.
Date submitted to the Commission | Date format: MM/DD/YYYY
Total Amount Requested | automatically calculated
Watershed | Use full names only, abbreviations are not acceptable. Example – Leader-Middle Clear Boggy not LMCB
Site # | Enter the dam number.
Proposed Work | Do you have a NRCS trip report recommending the repairs? If yes attach the trip report and, if available, a contract package (design, bid schedule, specifications) to your request. The trip report must have been performed within 12 months of your request.
Maintenance/Spray Plan | If requesting assistance to mechanically clear brush and trees does the district have a future maintenance and/or spray plan? If YES, check the box.
Anticipated Start Date | Enter the anticipated start date. Date format: MM/DD/YYYY
OCC Dam Maintenance Team | Check the box if requesting assistance from the Commission Dam Maintenance Team.
Amount Requested | Enter the amount requested.
District Contribution | Enter the amount the district will contribute to the project.

## Example-8H
WATERSHED OPERATION and MAINTENANCE REQUEST FOR ASSISTANCE
Payne County |  | Conservation District |  |  | Date Submitted | 2022-08-15
► Enter multiple as the watershed if your request is for supplies/materials that will be used on multiple sites. ► If you are requesting chemicals for spraying attach a copy of your current applicator's license.
TOTAL AMOUNT REQUESTED | [5 empty] | 6300
Watershed (one site per line) | Site # | Proposed Work If requesting assistance to mechanically clear brush and trees does the district have a future maintenance and/or spray plan? | Maint/Spray Plan | Anticipated Start Date | OCC Dam Maintenance Team (work can be performed w/OCC skid steer) | Amount Requested
Stillwater | 48 | clear trees and brush | TRUE |  |  | 5000
Multiple Sites |  | chemical to spray 5 sites | FALSE |  |  | 1500
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
|  |  |  | DISTRICT CONTRIBUTION |  | 200
EXAMPLE

## Form-8H
WATERSHED OPERATION and MAINTENANCE REQUEST FOR ASSISTANCE
|  | Conservation District |  |  | Date Submitted
► Enter multiple as the watershed if your request is for supplies/materials that will be used on multiple sites. ► If you are requesting chemicals for spraying attach a copy of your current applicator's license.
TOTAL AMOUNT REQUESTED | [5 empty] | 0
Watershed (one site per line) | Site # | Proposed Work If requesting assistance to mechanically clear brush and trees does the district have a future maintenance and/or spray plan? | Maint/Spray Plan | Anticipated Start Date | OCC Dam Maintenance Team (work can be performed w/OCC skid steer) | Amount Requested
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
DISTRICT CONTRIBUTION

## Instruction-8I
INSTRUCTIONS Watershed Operation and Mainteance Request for Wildlife Services (OCC-8I)
Before submission: • Some cells are locked and you can't type in them. This is by design. • Requests are accepted year-round. • You may include multiple sites on a single request form. • You must have a current WDANPlan on file with the Commission. Submission requirements: • File naming format: DistrictWSreq_YYYY.MM.DD Example: GarvinWSreq_2025.10.08 • Emailed to: Watershed.OandM@conservation.ok.gov • You will receive an email notification when your request has been submitted to APHIS. • Incomplete requests will be returned for correction. • Include a location map identifying the beaver activity/dam. Emergency contacts: If you have an emergency, please contact CPD staff by phone so that the funding process can be expedited. • Tom Goode – (405) 424-8080 • Johnny Pelley – (405) 365-1801 • Tony Harrison – (405) 203-3416 • Kyle McGregor – (572) 241-1614
Conservation District | Enter your district name.
Date submitted to the Commission | Date format: MM/DD/YYYY
Conservation District Contact Information | Enter your district contact's name, telephone number, and email address.
Watershed & Site No. | Enter the watershed name and dam number.
Date first became aware of beaver activity | Date format: MM/DD/YYYY
Site Conditions
Location map with beaver dam/activity attached. | Check yes or no for each site condition question.
Signs of beaver are currently present?
Principle spillway tower is currently plugged?
Principle spillway tower is currently mounded?
Burrows or dens are visible on the front slope?
Noticeable beaver activity in the plunge basin/outlet channel area?
Landowner / Operator Contact Information | Enter the land owner's name, telephone number, and email address. If land operator is differenct from the land owner enter their name, telephone number, and email address.

## Example-8I
WATERSHED OPERATION and MAINTENANCE REQUEST FOR WILDLIFE SERVICES
Garvin |  |  |  | Conservation District |  |  | Date Submitted |  | 2022-08-22
Contact |  | Name | Smith Smith
| Phone No. |  | 5552228888 |  | Email | smith.smith@conservation.ok.gov
Watershed & Site No. |  |  | Round 1 |  |  | Date first aware of beaver activity |  |  | 2022-08-18
Yes | No
X |  | Location map with beaver dam/activity attached. |  |  |  |  | Land Owner | Sandy Beech
| X | Signs of beaver are currently present? |  |  |  |  | Phone No. | 5552227777
X |  | Principle spillway tower is currently plugged? |  |  |  |  | Email | email@beech.com
X |  | Principle spillway tower is currently mounded? |  |  |  |  | Operator
| X | Burrows or dens are visible on the front slope? |  |  |  |  | Phone No.
X |  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  |  | Email
Watershed & Site No. |  |  | Wildhorse 1 |  |  | Date first aware of beaver activity |  |  | 2022-08-17
Yes | No
X |  | Location map with beaver dam/activity attached. |  |  |  |  | Land Owner | Jim Beem
X |  | Signs of beaver are currently present? |  |  |  |  | Phone No. | 5552224444
X |  | Principle spillway tower is currently plugged? |  |  |  |  | Email | email@jb.com
| X | Principle spillway tower is currently mounded? |  |  |  |  | Operator | Jackson Whole
| X | Burrows or dens are visible on the front slope? |  |  |  |  | Phone No. | 5552223333
X |  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  |  | Email | email@whole.com
Watershed & Site No. | [5 empty] | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  |  | Email
Watershed & Site No. | [5 empty] | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  |  | Email
Watershed & Site No. | [5 empty] | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  |  | Email
Watershed & Site No. | [5 empty] | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  |  | Email
EXAMPLE

## Form-8I
WATERSHED OPERATION and MAINTENANCE REQUEST FOR WILDLIFE SERVICES
|  |  | Conservation District |  |  | Date Submitted
Contact |  | Name
| Phone No. |  |  | Email
Watershed & Site No. |  |  |  |  | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  | Email
Watershed & Site No. |  |  |  |  | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  | Email
Watershed & Site No. |  |  |  |  | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  | Email
Watershed & Site No. |  |  |  |  | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  | Email
Watershed & Site No. |  |  |  |  | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  | Email
Watershed & Site No. |  |  |  |  | Date first aware of beaver activity
Yes | No
|  | Location map with beaver dam/activity attached. |  |  |  | Land Owner
|  | Signs of beaver are currently present? |  |  |  | Phone No.
|  | Principle spillway tower is currently plugged? |  |  |  | Email
|  | Principle spillway tower is currently mounded? |  |  |  | Operator
|  | Burrows or dens are visible on the front slope? |  |  |  | Phone No.
|  | Noticeable beaver activity in the plunge basin/outlet channel area? |  |  |  | Email